## Slide 1: Central Sleep Apnea and Cardiovascular Disease
Speaker
Institution
Date

## Slide 2: Agenda
Sleep Apnea and Cardiovascular Disease
Central Sleep Apnea Background
The remedē® System Therapy
Clinical Results

## Slide 3: Sleep Apnea is an Interruption in Breathing During Sleep
Obstructive sleep apnea (OSA)
Central sleep apnea (CSA)
Upper airway collapse during sleep
  Diaphragm motion pushes against closed airway
  Arousal during sleep to open airway
Failure in brain respiratory control center during sleep
  Absence of diaphragmatic motion
  Peak of hyperventilation disturbs sleep

## Slide 4: Each Sleep Apnea Episode Results in Significant Downstream Effects
Sleep Apnea
Hypoxia
Ischemia
Inflammation
Arousal
Disturbed
sleep
Sympathetic Activation
Dementia
Myocardial infarction
Stroke
Cancer
Endothelial dysfunction
↓Mental acuity
Fatigue
↑Renin
↑ Heart rate
↑ Peripheral vascular resistance
Courtesy S Javaheri, with permission

## Slide 5: Sleep Disordered Breathing and Days with Atrial Fibrillation
Linz, et al. Am Coll Card EP 2019;5:692–701
Percentage of days with at least >5 min, >1 h, and >12 h of AF for each within-patient quartile (Q1 to 4) of SDB severity, assessed by nightly RDI. Pie chart black sections indicate days with at least >5 min, >1 h, and >12 h of AF; yellow sections indicate days without at least >5 min, >1 h, and >12 h of AF

## Slide 6: Sleep Apnea Predicts Atrial Fibrillation
Figure 3
Heart Rhythm 2020 17195-202DOI: (10.1016/j.hrthm.2019.09.001)
Data from REVIVE pacemaker study
CI 3.7-18.4%
Notes: Identification of persistent AF (AF episode lasting >7 days) over time in patients with or without severe sleep apnea in the modified intention-to-treat population. AF = atrial fibrillation.

## Slide 7: Much lower rates of Afib after cardioversion for patients that continued PAP treatment at 1 year
Chart: Group A – Continued CPAP at 1 year
| Normal Rhythm | Atrial Fibrillation
 | 76.5 | 23.5
Chart: Group B – Stopped CPAP at 1 year
| Normal Rhythm | Atrial Fibrillation
 | 34.8 | 65.2
Adapted from Grigoriu et al. Pneumologia; 69, 2020

## Slide 8: Sleep Apnea Predicts Appropriate ICD Therapies
Kaplan–Meier plot on appropriate cardioverter-defibrillator therapies
Bitter et al. European Heart Journal, 2011;32: 61–74,

## Slide 9
From the following centers: UCSF, Baylor, Houston VA, U Mich, Downstate Medical Center, Cleveland Clinic, Hopkins, Brigham and Womens, Mayo Rochester
AHA Scientific Statement OSA and CVD 2021

## Slide 10: Recommendations for Screening for Obstructive Sleep Apnea
Screen for OSA | Consider sleep study if concerning signs/symptoms of sleep apnea are present
Resistant/poorly controlled hypertension | NYHA class II – IV HF symptoms
Pulmonary hypertension | Tachy-brady syndrome
Recurrent atrial fibrillation (after either cardioversion or ablation) | Sick sinus syndrome
 | Ventricular tachycardia
 | Survivors of sudden cardiac death
 | Stroke
Adapted from AHA Scientific Statement OSA and CVD 2021

## Slide 11: Agenda
Sleep Apnea and Cardiovascular Disease
Central Sleep Apnea Background
The remedē® System Therapy
Clinical Results

## Slide 12: Central Sleep Apnea
Central sleep apnea results from an intermittent neural drive to breathe
Patients with co-morbidities such as heart failure, atrial fibrillation and renal disease are at increased risk for CSA
Costanzo, et al. J Am Coll Cardiol 2015;65:72–84.
Notes: Central sleep apnea is a form of sleep disordered breathing which results from an intermittent neural drive to breathe. It primarily occurs in diseases associated with increased sympathetic drive such as heart failure, atrial fibrillation and renal disease. The bottom panel on this slide shows CSA during a sleep study demonstrating a period of rapid, deep breathing (hyperpnea) followed by periods of absent (apnea) or shallow breathing (hypopnea). CSA is characterized by an absence of movement of the thoracic and abdominal belts indicating no attempt at breathing during these episodes. Each apneic or hypopneic episode results in an arousal and a decrease in oxygen saturation.

## Slide 13: Pathophysiology of Central Sleep Apnea
During sleep, respiration is regulated by the brain whose goal is to maintain a constant blood CO₂
To keep CO₂ regulated, the brain sends signals to the diaphragm via phrenic nerves. These signals control the pattern of breathing
In patients with central sleep apnea, the brain develops a respiratory arrhythmia that manifests as an oscillating pattern between hyperventilation and apnea
Dempsey et al. Physiol Rev 2010; 90:47-112
Orr et al. Respirology 2017; 22, 43–52
Phrenic Nerves
Notes: During sleep, respiration is regulated by the respiratory control center in the brain to maintain a constant carbon dioxide level in the blood. When carbon dioxide levels rise, signals are sent to the muscles of respiration to breathe. The largest breathing muscle is the diaphragm which receives its signal via the phrenic nerve. In CSA, there is a delay in the signaling process which produces a respiratory arrhythmia leading to an oscillation between hyperventilation and apnea.
One form of this patterned breathing, Cheyne-Stokes Respiration, can be seen during the daytime in patients with heart failure. However, patients with very mild heart failure and without heart failure can be found to have this pattern at nigth.

## Slide 14: The Difference Between OSA and CSA is Evident in Sleep Studies
Obstructive Sleep Apnea
Central Sleep Apnea
SpO2 (%)
Nasal Flow
Effort
70
80
90
Pham, et al High Alt Med Biol 2017; 18: 11-19
Abdomen does not move; no breath attempted
Limited or no airflow due to lack of attempted breath, resulting in oxygen desaturation
Abdomen moves as a breath is attempted
Airflow blocked or reduced due to obstruction, resulting in oxygen desaturation
Abdomen
Thorax
70
80
90

## Slide 15: Most Patients with CSA also have Concomitant Cardiovascular Conditions
Javaheri and Dempsey, Comprehensive Physiology 2013;3:141-163;
Dymedex data on file, 2014.;
Bekfani and Abraham, Europace 2016; 18:1123-24;
Tung et al. J Am Heart Assoc. 2017;6:e004500. DOI: 10.1161/JAHA.116.004500
Bitter T, et. al. Dtsch Arztebl Int. 2009;106(10):164–170.
Chart: 
| Heart Failure | Heart Failure & AF | Afib | Idiopathic | Stroke
Column1 | 0.55 | 0.18 | 0.04 | 0.12 | 0.11
Etiology of Central Sleep Apnea1,2
Heart Failure2,3
CSA occurs in 30–50% of patients with heart failure with reduced left ventricular ejection fraction (LVEF) and in 18–30% of HF patients with preserved LVEF
70%+ of CSA patients have heart failure and/or reduced left ventricular ejection fraction (LVEF)
Atrial Fibrillation2,4,5
CSA occurs in 10-30% of patients with atrial fibrillation
20+% of CSA patients have atrial fibrillation

## Slide 16: Sleep Disordered Breathing is Common in Heart Failure Untreated CSA symptoms can overlap HF symptoms
Chart: United States Heart Failure Population 6.4 Million
| CSA | OSA | No SDB
 | 1464216 | 1351584 | 889200
Roger et al. Circulation 2011;123:e18-209
Oldenburg et al. Eur J Heart Fail;20079:251-7
Many patients with CSA complain of symptoms which may be multifactorial:
  Fatigue
    Low cardiac index
    Medication side-effects
    Depression
    Co-existent medical problems
  Frequent hospitalizations
  Nocturia
  Frequent awakenings
CSA patients often have apneas observed by bed partners
CSA patients frequently do not snore
CSA patients frequently are not aware that they have arousals
Costanzo et al., JACC 2015; 65(1):72-84
Arzt et al., JACC: Heart Fail 2016; 4(2):116-125
Notes: Many patients with CSA have a primary complaint of daytime “fatigue” or “tiredness”
  Fatigue may be multifactorial in these patients
    Low cardiac index
    Medication side-effects
    Co-existent medical problems (depression, anemia, etc.)
    Sleep disorders
Despite optimal medical therapy, many patients continue to complain of significant fatigue
CSA patients frequently do not snore
CSA patients frequently are not aware that they have arousals

## Slide 17
Oldenburg et al. Eur J Heart Fail; 2007; 9:251-7
For every 10 heart failure patients…
>7 of them will have
some form of SDB
~ 4 of them will have Obstructive Sleep Apnea
~ 4 of them will have
Central Sleep Apnea
The use of screening tools may help identify who needs a sleep study:
Epworth Sleepiness Score
STOP-BANG (>3)
Generic tool to assess for fatigue, apneas, etc.
Think about SDB when patients report:
Ongoing fatigue despite medical mgt and HF stability
Excessive Nocturia
Frequent awakenings
Recurrent hospitalizations
Costanzo et al., JACC 2015; 65(1):72-84
Arzt et al., JACC: Heart Fail 2016; 4(2):116-125
Labarca et al. Sleep Medicine 2019; 61: 82-87
When to Screen:
First HF patient visit
Post-discharge follow up visits
In office within 7-10 days of discharge from a HF-related admission
During admission
Avg HF admission is 4-5 days
Screening with ODI or HSAT near end of visit
Screening Patients for Sleep Disordered Breathing
Notes: Many patients with CSA have a primary complaint of daytime “fatigue” or “tiredness”
  Fatigue may be multifactorial in these patients
    Low cardiac index
    Medication side-effects
    Co-existent medical problems (depression, anemia, etc.)
    Sleep disorders
Despite optimal medical therapy, many patients continue to complain of significant fatigue
CSA patients frequently do not snore
CSA patients frequently are not aware that they have arousals

## Slide 18: Untreated CSA causes life altering levels of fatigue as well as increased health risks for patients with heart failure and atrial fibrillation
Untreated CSA increases health risks
Significantly higher rates of heart failure and atrial fibrillation1,6
2x more likely to have a HF-related readmission within 6 months7
2x the mortality rate in HF patients8
CSA is due to a loss of neural drive to breathe during sleep1
Untreated CSA significantly increases health risks for these patients
CSA patients often go untreated due to few scientifically proven, FDA-approved therapeutic options
CSA patients undergo hundreds of repeated cycles of oxygen desaturation, arousals and surges in sympathetic drive
Severe fatigue
Excessive daytime sleepiness
Cognitive impairment
Depression
Memory deficits
Nighttime sleep disruptions significantly diminish quality of life2,3,4,5
Bekfani and Abraham, Europace 2016; 18:1123-24
Dempsey JA. Exp Physiol 2005; 90: 13–24,
Javaheri S., Dempsey J.A. Compr Physiol. 2013; 3:141–163
Brenner, S., et al. Trends Cardiovasc. Med. 2008; 18, 240–247.
Flemons WW, Tsai W. J Allergy Clin Immunol 1997; 99:S750-S756
Tung et al. J Am Heart Assoc. 2017; e004500. DOI: 10.1161/JAHA.116.004500.
Khayat et al. J Card Fail 2012; 18:534-540.
Khayat et al. Eur Heart J 2015; 23:1463-1469.
Notes: This slide may not be necessary for (or understood by) techs, MAs, etc. This will resonate with cardiology/HF providers.
Key messages:
  + Majority of CSA patients have HF (75-80%), but there are a significant amount that do not
  + CSA increases readmissions, mortality, risk of comorbidities…also patients are highly symptomatic

## Slide 19: Sleep Disordered Breathing is a Predictor of Mortality in HF Patients
Survival – Heart failure (LVEF< 45%) with CSA patients vs. heart failure with normal breathing in NIH sponsored study
HF combined with CSA is associated with a 2-fold increase in risk of death
Khayat et al. Eur Heart J 2015; 36:1463-9
Hazard ratios | 
CSA vs. no or minimal SDB | OSA vs. no or minimal SDB
2.17 p < 0.001 | 2.00 p < 0.001
No or minimal (nm) SDB
OSA
CSA

## Slide 20: Central Sleep Apnea Increases the Risk of Heart Failure Readmission
Heart failure readmissions within 6 months – CSA population vs. patients free of sleep disordered breathing (SDB) in NIH sponsored study
Percent of patients
Khayat et al. J Card Fail 2012;18:534-540
Central Sleep Apnea (n=165)
No Sleep Disordered Breathing (n=139)
>50% of CSA Patients
>25% of CSA Patients
Hazard ratios
CSA vs. no SDB
1.63, p = 0.01
50% of HF patients with CSA were readmitted to the hospital at 6 months
Over 25% of heart failure patients with CSA had 2 or more hospital readmissions within 6 months

## Slide 21: Limited Treatment Options for Central Sleep Apnea
CPAP | Most common CSA treatment Clinical trials demonstrated improvement in AHI and EF CANPAP showed no improvement in QoL or M&M and was stopped early for safety Does not have a FDA approved indication to treat CSA
ASV (Adaptive servo-ventilation) | No clear results M&M: 2 large studies (n=1325 and n=758) both neutral (one showed harm in low EF patients) Showed and improvement in AHI but no improvement in QoL Still has a black box warning and Class III recommendation against use in patients with EF < 45%
Oxygen Therapy | Small randomized studies show improvement in AHI, but no improvements in arousals or daytime sleepiness Does not have a FDA approved indication to treat CSA
Medications Acetazolamide Theophylline Buspirone | Studied in short (<3 month) studies with < 20 patients Does not have a FDA approved indication to treat CSA Buspirone only studied in 8 patients for 2 weeks currently
Aurora et al., SLEEP 2012;35:17-40; Costanzo, et al., JACC 2015; 65: 72-84; Sepehrvand, et al. JACC 2016; 4: 783-790. Bradley TD, et al. N Engl J Med 2005;353:2025-33; Cowie MR et al. New Engl J Med 2015; 373:1095-1105. Aurora et al. J Clin Sleep Med 2016; 12:757-761

## Slide 22: Positive Airway Pressure (PAP) Devices were Designed to Treat OSA In CSA, PAP has limited effectiveness data, compliance and tolerance issues
Positive airway pressure therapies have been shown to reduce AHI but have not shown improvements in arousals, REM Sleep or quality of life in a randomized clinical trial1
Many patients are unable to tolerate PAP due to a range of challenges:2
  Mask discomfort
  Mask leakage
  Pressure intolerance
  Skin Irritation
  Nasal congestion
25-50% of patients refuse or are unable to tolerate these therapies3,4
40-60% are non-compliant to even a minimal bar of 4 hours/night, 5 nights/week.3,4
Randomized clinical trials have also revealed safety concerns for PAP therapies in patients with reduced left ventricular ejection fraction (LVEF) 5
Nasal drying
Nosebleeds
Claustrophobia
Bed partner disruption
Challenge to intimacy
Bradley TD, et al. N Engl J Med 2005;353:2025-33
https://www.mayoclinic.org/diseases-conditions/sleep-apnea/in-depth/cpap/art-20044164
Takama N, Kurabayashi M, Circulation Journal 2012;76:661-7
Arzt M, et al., Circulation 2007; 115:3713-80
Cowie MR et al. New Engl J Med 2015; 373:1095-1105

## Slide 23: Agenda
Sleep Apnea and Cardiovascular Disease
Central Sleep Apnea Background
The remedē® System Therapy
Clinical Trial Results

## Slide 24: The remedē® System brief statement
Indications for Use
The remedē® System is indicated for moderate to severe Central Sleep Apnea in adult patients.
Your doctor will need to evaluate your condition to determine if the remedē system is right for you. The remedē system is MR Conditional but conditions apply. Please make sure that your physician knows about the conditions and precautions to ensure safety, which can be found in the remedē system MRI guidelines manual. You should not have the remedē System implanted if you have an infection and you will not be able to have diathermy (special heat therapies) after implantation. The remedē System may be used if you have another stimulation device such as a heart pacemaker or defibrillator; special testing will be needed to ensure the devices are not interacting.
As with any surgically implanted device, there are risks related to the surgical procedure itself which may include, but are not limited to, pain, swelling, and infection.
Once the therapy is turned on, some patients may experience discomfort from stimulation and/or from the presence of the device. The majority of these events are resolved either on their own or by adjusting the therapy settings. The remedē system may not work for everyone. There are additional risks associated with removing your system. If you and your doctor decide to remove the system, another surgery will be required.
Be sure to talk with your doctor so that you thoroughly understand all of the risks and benefits associated with the implantation of the remedē System. Rx only. For further information, please visit remede.zoll.com, call +1-952-540-4470 or email info@remede.zoll.com.
The remedē® System, remedē® EL System, and remedē® EL-X System have received FDA approval. The remedē® System model 1001 has received CE Mark approval.
Copyright © 2021 ZOLL Medical Corporation. All rights reserved. Respicardia and remedē are registered trademarks of ZOLL Respicardia, Inc. in the United States and/or other countries. ZOLL is a registered trademark of ZOLL Medical Corporation in the United States and/or other countries.

## Slide 25: Transvenous Phrenic Nerve Stimulation with the remedē® System
Diaphragm
Fully implantable system with an indication to treat moderate to severe central sleep apnea in adults; received U.S. FDA PMA approval October 2017
Stabilizes breathing by activating the diaphragm to generate negative pressure in the chest (similar to natural breathing)
Turns on automatically at night, ensuring nightly compliance and adherence over time
Implanted by cardiac electrophysiologists (EPs)
  Pulse generator implanted below clavicle
  Stimulation lead placed either in left pericardiophrenic or right brachiocephalic vein
  Sensing lead placed in the Azygos vein, helps optimize therapy (optional)
FDA-Approved Summary of Safety and Effectiveness Data (SSED) for the remedē® System and The remedē System Implant and Clinician Use Manual (P160039) Oct. 6, 2017.

## Slide 26: The remedē® EL System
remedē EL System
Stimulation Lead

## Slide 27: remedē® System Therapy Activates Automatically Each Night
Therapy is Delivered When…
It is within the pre-programmed sleeping hours…
…AND the patient is reclined past the programmed sleeping angle…
…AND the patient is not moving
Therapy is Paused When…
The patient sits up…
…OR the patient moves
Therapy resumes ~10 minutes after the patient returns to sleep position and is once again still
Example
11:00 pm

## Slide 28: Breathing stabilizes and apnea events are significantly reduced when phrenic nerve simulation is being delivered in this example1
Therapy On
Oxygen
Saturation
Abdominal Belt
Thorax Belt
Airflow
1 min intervals
Central apnea events
Oxygen stabilizes
Therapy Off
1 Costanzo MR, et al., J Card Fail. 2015;21:892-902
*This is an individual patient example and does not provide any indication, guide, warranty or guarantee as to the response other patients may have to the therapy.

## Slide 29: TPNS Utilizes a Step-wise Increase in Stimulation to Capture Ventilation and Stabilize the Breathing Pattern
Automatic step-wise increases in stimulation amplitude stabilize tidal airflow, respiratory effort and oxyhemoglobin saturation as ventilation is captured progressively
A period of step-wise increases in phrenic nerve stimulation amplitude (middle segment) is bracketed by periods off stimulation. Automatic step-wise increases in stimulation amplitude stabilize tidal airflow, respiratory effort and oxyhemoglobin saturation as ventilation is captured progressively.
Schwartz AR, et al. J Clin Sleep Med. 2020;16(5):817–820.
*This is an individual patient example and does not provide any indication, guide, warranty or guarantee as to the response other patients may have to the therapy.

## Slide 30: remedē® System Therapy Programming and Follow-up
Acclimation / Therapy Titration
Therapy Initiation
Long-Term Follow-Up
Therapy is activated ~ 1 month post implant during a follow-up office visit
Patient acclimation period as therapy is customized to maximize efficacy while maintaining patient comfort
~1-month post-implant
1-3 months
Every 3-6 months
Programming checks every 3-6 months to optimize therapy. Physician may order a sleep study to help optimize.
Courtesy Respicardia, Inc

## Slide 31: remedē® System Reports Provide Programming Guidance
Therapy timing and sleeping posture (horizontal position)
Activity trends
Therapy Duration
Daily Activity (naps, afternoon activity)
Capture Index by Position
Courtesy Respicardia, Inc

## Slide 32: Agenda
Sleep Apnea and Cardiovascular Disease
Central Sleep Apnea Background
The remedē® System Therapy
Clinical Trial Results

## Slide 33: The remedē® System Pivotal Trial Study design
ENDPOINT | DESCRIPTION | POPULATION
Primary Effectiveness (6 months) | Comparison of the proportion of subjects with ≥50% reduction in AHI between treatment and control | Intention to Treat (ITT)
Primary Safety (12 months) | Freedom from serious adverse events associated with implant, the remedē system, or delivered therapy | Intention to Treat
Secondary Hierarchical (6 months) | Central Apnea Index (CAI) Apnea Hypopnea Index (AHI) Arousal Index (ArI) Rapid Eye Movement (REM) Patient Global Assessment (PGA) Oxygen Desaturation Index 4% (ODI4) Epworth Sleepiness Scale (ESS) | Per-protocol
Costanzo MR, et al., J Card Fail. 2015;21:892-902.
Prospective, multi-center, randomized controlled trial
Baseline criteria for moderate to severe CSA was based on PSGs scored by a blinded core laboratory
    AHI ≥ 20
    CAI at least 50% of all apneas with at least 30 central apnea events
    Obstructive Apnea Index ≤ 20% of the total AHI
33

## Slide 34: In the pivotal RCT, the remedē System demonstrated clinically meaningful improvements in sleep, sleep apnea and quality of life
Δ Fisher’s Exact Test.
† Mann-Whitney test for difference in change from baseline between groups.
‡ t-test for difference in change from baseline between groups.
Change from baseline
Between group difference
Endpoint
>50% reduction in AHI1
CAI (events/hr)
Central Apnea Index
AHI (events/hr)
Apnea Hypopnea Index
ArI (events/hr)
Arousals
% of sleep in REM
QOL – ESS3
Epworth Sleepiness Score
Treatment
Control
Difference
p-value
-25.7 ± 18.0
-23.9 ± 18.6
-20.2 ± 18.9
1.8 ± 8.2
-3.6 ± 5.6
51%
-2.9 ± 17.7
1.1 ± 17.6
-5.0 ± 18.1
-0.6 ± 7.8
+0.1± 4.5
11%
-22.8 ± 17.8
-25.0 ± 18.1
-15.2 ± 18.5
2.4 ± 7.9
-3.7 ± 5.0
41%
ODI4 (events/hour)
O2 Desaturation 4% below baseline
-19.1 ± 18.4
3.6 ± 17.3
-22.7 ± 17.8
QOL – PGA2
% patients w/ marked or moderate improvement
60%
6%
55%
<.0001†
<.0001‡
<.0001‡
.0244†
<.0001†
<.0001Δ
<.0001†
<.0001Δ
Primary endpoint
(n= 1415)
Secondary endpoints
(n= 1315)
Endpoint Met?
Yes
91% (CI: 86%,95%) freedom from serious adverse events associated with the implant procedure, device,
or the delivered therapy at 12 months
Safety
Primary endpoint is the proportion of subjects achieving ≥50% reduction in AHI
PGA = Patient global assessment
ESS = Epworth Sleepiness Scale, an 8-question assessment used to assess sleepiness
For primary endpoint, n=68 for treatment and n=73 for control; for secondary endpoints, n=58 for treatment and n=73 for control
Costanzo et al. Lancet 2016;388:974-82; Goldberg L et al. J Cardiac Fail 2017;23:S15.
Yes
Yes
Yes
Yes
Yes
Yes
Yes

## Slide 35: PSG Results at 24 months of Therapy Demonstrated Effective and Durable Results
Chart: 
 | 30.1 | 0.2
 | 13 | 7.6
 | 1.2 | 0
 | 2.1 | 2.9
0.2
2.1
1.2
Baseline (n=58)
0.0
24 months (n=42)
Total AHI at baseline = 49*
Total AHI at 24 months = 16*
remedē AHI reduction 1
Median events/hr
-67%
Obstructive apnea
Central apnea
Mixed apnea
Hypopnea
* Total median AHI does not sum from component medians
Potential reasons for residual events
Obstructive events
Incomplete ventilatory capture during therapy adjustment
p<0.001 for paired change from baseline
Notes: Residual events: (1) obstructive events, (2) not fully capturing ventilation

## Slide 36: Sustained Improvement in Sleep Disordered Breathing Through 5 Years with TPNS
Paired at 5 years
Note: Sum of component medians does not add up to AHI.
Apnea Hypopnea Index
Median change [IQR]: -22 [-42, -7] P<.001
Late Breaking Clinical Trial Presentation
Javaheri, S CHEST 2020 Late Breaking Abstracts DOI: https://doi.org/10.1016/j.chest.2020.09.011

## Slide 37: Sustained Improvement in Sleep Architecture Through 5 Years with TPNS
Shift away from light stage sleep (N1) to more deeper stage sleep (N2 - REM)
Paired at 5 years
Sleep Stages
Sleep Stages
Note: Sum of medians at a visit does not add up to 100%
Costanzo MR, Javaheri S, et al. Transvenous Phrenic Nerve Stimulation for Treatment of Central Sleep Apnea: Five-Year Safety and Efficacy Outcomes. Nat Sci Sleep. 2021;13:515-526
MAF1937 Rev E

## Slide 38: Significant improvements in symptoms and quality of life after 6 months of treatment with TPNS1
Costanzo et al. Lancet 2016;388:974-82.
Patel S, Kon SSC, Nolan CM, et al. Am J Respir Crit Care Med. 2018;197(7):961–963
79% of patients had an improvement in quality of life with the remedē System
95% of patients reported they would
“elect to have the medical procedure again”
Per Protocal Population * One patient did not complete the PGA assessment at 6 months.
Demonstrated clinically significant improvement in daytime sleepiness
Improvement in Epworth Sleepiness Scale
Patient Global Assessment
Willingness to repeat procedure
ESS Mean Change from Baseline (points)
[95% confidence interval]
Chart: 
| Treatment (6-months) n=58 | Control (6-months) n=72
Mildly Improved | 19 | 6
Markedly or Moderately Improved | 60 | 6
No Change | -14 | -61
Worsened | -7 | -26
Improved
No change/worse
Marked or moderate improvement
Mild improvement
No change
Worsened
Chart: 
Column1 | 3.6 | -0.1
Treatment (N=58)
Control
(N=73)
p < 0.0001
6%
95%
>2.5 change in ESS is considered clinically meaningful2

## Slide 39: The remedē System pivotal trial demonstrated a strong safety profile
91% (CI: 86%,95%) freedom from serious adverse events associated with the implant procedure, the remedē® System, or the delivered therapy at 12 months
All related serious adverse events resolved without any long term sequelae
  No deaths related to the procedure, system or therapy
  97% implant success rate, including the 42% of subjects that already had a concomitant cardiac device
Costanzo MR, et al., The Lancet 2016;388:974–82.

## Slide 40: Conclusions
Sleep apnea is a common comorbidity among patients with cardiovascular diseases, which if untreated can have significant negative impact on outcomes
Central Sleep Apnea contributes to a harmful progressive cycle of hypoxia, arousal and sympathetic activation
There have been few treatments for central sleep apnea and little randomized data demonstrating efficacy
Phrenic nerve stimulation offers a safe and effective therapeutic option for the treatment of CSA with improvements in both sleep and quality of life
Notes: Central sleep apnea is a devastating disease with surges of neurohormonal activation negatively impacting cardiovascular health.
The remedē® System is a breakthrough technology demonstrated to be safe and effective in the treatment of adult patients with moderate to severe central sleep apnea.
Benefits to the remedē® System include improvements in oxygenation and arousals, normalizing the breathing pattern during sleep, ensured patient compliance and improved sleep and quality of life. These benefits are seen without significant safety concerns.

## Slide 41: Questions…

## Slide 42: Back Up Slides

## Slide 43: In heart failure, CSA can accelerate cardiac disease progression
Reciprocal Interaction between CSA and Heart Failure
Adapted from Bekfani and Abraham, Europace 2016; 18:1123-24
Central Sleep Apnea
Heart Failure

## Slide 44: The remedē System – left stimulation lead placement
Stimulation Lead
Phrenic Nerve
Pericardiophrenic Vein
Courtesy Respicardia, Inc

## Slide 45: The remedē System – right stimulation lead placement
Stimulation Lead
Phrenic Nerve
Brachiocephalic Vein
Courtesy Respicardia, Inc

## Slide 46: remedē® System therapy uses stimulation pulses to mimic normal breathing
Stimulation pulse setting ranges:
Amplitude: 0.1 mA – 10 mA
Pulse width: 60 µsec – 300 µsec
Frequency: 10-40 Hz
Abraham WT et al. JACC HF 2015;5:360-369
Inspiration
time
Milliamps
0 mA
0.1 - 10 mA
Stimulation
Pulse Amplitude
(milliAmps)
Stimulation
Frequency
(Hertz)
Stimulation
Pulse Width
(microseconds)
Time
Neurostimulation characteristics
Expiration

## Slide 47: Consistent AHI reduction with phrenic nerve stimulation across multiple studies
Luni FK, et al. The American Journal of Cardiology. 2020 Jun;125(11):1738-1744. DOI: 10.1016/j.amjcard.2020.02.012.

## Slide 48: The remedē® System Pivotal Trial Study design
Treatment
n=73
Control
n=78
Enrolled
n=151
Therapy
On
Therapy
initiation visit
Primary effectiveness endpoint
Primary safety endpoint
Therapy
Off
Therapy
On
1 month
6 months
12 months
Therapy ongoing
(follow-up every 3 months)
Former control group
Costanzo MR, et al. Am J Cardiol 2018;,121:1400-1408.

## Slide 49: The remedē System Pivotal Trial Baseline demographics
VARIABLE | TREATMENT (N=73) |  |  | CONTROL (N=78) |  | 
Age (years) | 65 | ± | 12 | 65 | ± | 13
Male gender | 86% |  |  | 92% |  | 
Body mass index (kg/m2) | 30.8 | ± | 5.3 | 31.3 | ± | 6.6
Ejection fraction (%) | 40.6 | ± | 12.8 (n=71) | 39.4 | ± | 12.2 (n=75)
Heart failure1 (% [NYHA I / II / III / IV]) | 66% (13 / 44 / 44 / 0%) |  |  | 62% (25 / 42 / 33 / 0%) |  | 
Atrial fibrillation | 44% |  |  | 40% |  | 
Concomitant cardiac device | 42% |  |  | 42% |  | 
Apnea hypopnea index (events/hr) | 48.8 | ± | 19.3 | 43.7 | ± | 16.8
Central apnea index (events/hr) | 30.0 | ± | 18.0 | 26.6 | ± | 16.1
Epworth sleepiness scale (points) | 10.2 | ± | 5.2 | 9.5 | ± | 5.8
1 Required the investigator to assign a NYHA Class at the Baseline physical exam. 58% of patients had an EF <= 45%.
Mean ± SD for continuous variables/Percent for categorical variables. All nominal p-values ≥ 0.075
Costanzo MR, et al. The Lancet 2016;388:974-82

## Slide 50: The majority of treated patients demonstrated a decrease in AHI at 6 months and 12 months
1. Costanzo MR, et al. Lancet. 2016; 388: 974–82.
2. 48% of the control group had a decrease in AHI.
3. Costanzo M, et al. Am J Cardiol 2018;121:1400-1408
Improved from baseline
Worsened from baseline
88% of patients demonstrated a decrease in the number of apnea and hypopnea events per hour with the remedē System at 6 months1,2
91% of patients demonstrated a decrease in the number of apnea and hypopnea events per hour with the remedē System at 12 months3
Improved from baseline

## Slide 51: Post hoc analysis of the heart failure cohort demonstrated similar benefit in sleep and quality of life
Chart: 
| Treatment (6-months) n=35 | Control (6-months) n=44
Mildly Improved | 17 | 9
Markedly or Moderately Improved | 57 | 9
No Change | -17 | -59
Worsened | -9 | -23
Improved
No change/worse
Marked or moderate improvement
Mild improvement
No change
Worsened
Post-hoc analysis showed improvements from baseline at 12 months1
  Sleep metrics (All p= or < 0.001)
    Apnea Hypopnea Index (AHI)
    Central Apnea Index (CAI)
    Oxygen Desaturation Index (ODI)
    Arousal Index
    % of sleep in REM
    ODI4 (events/hour)
    % of sleep with O2 saturation < 90%
  Epworth Sleepiness Scale
    3.1 ± 4.7 point improvement from baseline (p<0.001)
  Minnesota Living with Heart Failure
    6.8 ± 20.0 point improvement from baseline (p=0.005)
1 Constanzo et al., Eur J Heart Fail 2018; 1746-1754.
2 Goldberg et al., J Cardiac Fail 2017;23:S15
Patient Global Assessment
Per protocol with heart failure
Similar results in quality of life improvements in heart failure cohort as broader patient population2

## Slide 52
*Nominal two-sided P-value from Wilcoxon signed-rank test for change from baseline.
Change in LVEF for treatment patients at 12-mo
(Subgroup with HF, EF≤45% and no permanent AF)1
Chart: 
| Baseline | 12-months
Column1 | 31.6 | 34.8
Baseline
12-months
Mean Left Ventricle Ejection Fraction %
Nominal two-sided P-value p=0.004*
12 Month rate
Treatment: 7.6%
Kaplan-Meier Curve of Months to First
HF Hospitalization
(Subgroup with NYHA II-III and EF≤45%)2
Kaplan-Meier Curve of Months to
Cardiovascular Death
(Subgroup with HF)1
Log-rank p-value=0.014
Log-rank p-value=0.617
Note: The all-cause death Kaplan-Meier curve is identical to this curve since all deaths in first 6 months were CV related.
Control subjects censored when therapy turned on at 6 months
Control subjects censored when therapy turned on at 6 months
Published post hoc analysis explored changes in LVEF, time to first HF hospitalization and time cardiovascular death in the heart failure cohort
Costanzo et al. Eur J Heart Fail 2018; https://doi.org/10.1002/ejhf.1312
Ponikowski P, et al. Eur J Heart Fail 2019;21 (S1): 346; doi:10.1002/ejhf.1488
*remedē is not indicated to treat, cure, prevent, mitigate or diagnose heart failure. These data represent unspecified secondary endpoints.
6 Month HF hospitalization rate:
Treatment: 3.7%
Control: 27.3%
12 Month HF hospitalization rate:
Treatment: 7.6%
30 23 9 0 0
28 27 26 23 22
N=50
N=41

## Slide 53: Therapy response was consistent across subgroups
Forest plot showing the proportion of subjects achieving at least 50% reduction in AHI for subgroups of interest1
24 Months of Therapy Subgroup | AHI Reduced ≥ 50% Treatment Group % (n/N)
Age | 
<65 | 54% (13/24)
≥ 65 | 67% (12/18)
Sex | 
Female | 80% (4/5)
Male | 67% (21/37)
Heart Failure | 
No | 62% (13/21)
Yes | 57% (12/21)
Height (Median) | 
<176 cm | 65% (13/20)
≥176 cm | 55% (12/22)
Hypopnea Index (Median) | 
<14 Events/Hour | 43% (9/21)
≥14 Events/Hour | 76% (16/21)
Defibrillator | 
No | 55% (17/31)
Yes | 73% (8/11)
BMI (Median) | 
<30.5 | 71% (15/21)
≥30.5 | 48% (10/21)
Prior SDB Therapy | 
No | 64% (14/22)
Yes | 55% (11/20)
Atrial Fibrillation | 
No | 57% (17/30)
Yes | 67% (8/12)
0
25
50
75
100
Proportion With AHI Reduced ≥ 50%
(95% CI)
1 Fox H, et al, SLEEP, zsz158, https://doi.org/10.1093/sleep/zsz158

## Slide 54: remedē System Pivotal Trial Safety Events
Any serious related AE | 13 | 9%
Lead Dislodgment1 | 2 | 1%
Impending Pocket Erosion | 2 | 1%
Implant Site Infection | 2 | 1%
Concomitant Device Interaction | 1 | 1%
Extra Respiratory Stimulation2 | 1 | 1%
Lead Component Failure | 1 | 1%
Lead Displacement3 | 1 | 1%
Implant Site Hematoma | 1 | 1%
Non-Cardiac Chest Pain | 1 | 1%
Elevated Transaminase | 1 | 1%
Primary Safety Endpoint:
Serious Adverse Events Related to Implant, Procedure, remedē System, and/or Delivered Therapy through 12 Months
Intention to Treat
(N=151)
n (Events)
% (Patients)
Costanzo MR, et al. The Lancet 2016;388:974-82

## Slide 55: remedē System Therapy Study (rēST Study) Design
Multi-center, prospective, non-randomized study
Safety and effectiveness data in subjects implanted with the remedē
System
Approximately 500 subjects and 50 sites in the United States and the
Europe
Participation is expected to continue through five years
Enhanced assessments in HF subjects

## Slide 56: reST Study Key Objectives
Changes in sleep metrics
    At 12, 36 and 60 months
Evaluate changes in daytime sleepiness from baseline using the Epworth Sleepiness Scale (ESS)
Evaluate impact on quality of life (QOL) using the
    PROMIS-29 questionnaire, and
    Patient Global Assessment (PGA)
HF patients will undergo additional assessments
    Changes in LVEF at 12 months
    BNP
    Disease specific QOL (KCCQ)
    Exercise tolerance
    HF hospitalizations