TRANSVENOUS PHRENIC NERVE STIMULATION FOR CENTRAL SLEEP APNEA

Clinical Evidence Summary for the remedē System

Transvenous phrenic nerve stimulation (TPNS) consists of an implantable phrenic nerve neurostimulator (the remedē System) designed to stabilize the breathing pattern and restore sleep throughout the night for adult patients with central sleep apnea (CSA). The system activates automatically at night, removing compliance issues and the need for patient interaction. By stimulating the nerve that controls the diaphragm, it utilizes a physiological mechanism similar to natural breathing. TPNS meets the unmet clinical need for improving quality of life and a range of sleep metrics in a safe manner for CSA patients.

CSA is caused by a delay in the brain’s response to changes in carbon dioxide (CO2) levels whereby the brain does not initiate breathing until the CO2 level has raised significantly above the normal level. This results in rapid deep breathing to expel the excess CO2 continuing until the CO2 level is far below normal levels, leading in turn to an extended “pause” of breathing, ranging in duration from roughly 10 to 40 seconds. Each episode results in surges of norepinephrine and hypoxia, increasing elapsed time below an oxygen saturation of 90%. CSA differs from Obstructive Sleep Apnea (OSA) which occurs as a result of the muscles in the upper airway relaxing or collapsing during sleep, narrowing the breathing passage, and impeding air flow. Patients with CSA suffer from sleep disruptions and insufficient sleep as evidenced by frequent apneic and hypopneic events, oxygen desaturations, and increased arousals. Sleep disruption results in life-altering chronic fatigue, excessive daytime sleepiness, cognitive impairment, and depression, which substantially reduces quality of life.

The remedē System is the only device approved by the FDA (PMA P160039, October 2017) as an implantable phrenic nerve stimulator indicated to treat moderate to severe CSA in adult patients. TPNS with the remedē System is a proven therapeutic approach supported by comprehensive positive clinical trial data demonstrating significant improvements in a wide range of sleep metrics as well as patient quality of life. The recently updated American Academy of Sleep Medicine (AASM) CSA guidelines recommend TPNS as a treatment option, noting that it demonstrated clinically significant improvements in excessive sleepiness, disease severity, and cardiovascular disease.

| Citation | Design | N | Objective/Outcomes |
| --- | --- | --- | --- |
| Pivotal Trial |  |  |  |
| Costanzo et al. Transvenous neurostimulation for central sleep apnea: a randomised controlled trial. Lancet 2016; 388: 974–82. | Prospective, multicenter randomized trial | 151 | Objective was to evaluate the safety and effectiveness of unilateral TPNS in patients with CSA. Eligible patients with an apnea-hypopnea index (AHI) of ≥20 events per hour, tested by polysomnography, underwent device implantation and were randomly assigned (1:1) by a computer-generated method stratified by site to either stimulation (treatment) or no stimulation (control) for 6 months. The primary effectiveness endpoint in the intention-to-treat population was the comparison of the proportions of patients in the treatment versus control groups achieving ≥ 50% AHI reduction from baseline to 6 months, measured by a full-night polysomnography. Significantly more patients in the treatment group (51% [35/68]) had an AHI reduction from baseline ≥ 50% at 6 months than had those in the control group (11% [8/73]; difference between groups 41%, 95% CI 25–54, p<0·0001). Sleep metrics (including AHI, central apnea index [CAI], arousal index, oxygen desaturation index, and rapid eye movement sleep) as well as patient reported outcomes measuring daytime sleepiness and quality of life improved compared to control. Ninety-one percent (138/151) of patients had no related serious-related adverse events at 12 months. Seven (9%) cases of serious-related adverse events occurred in the control group, and six (8%) cases were reported in the treatment group. TPNS significantly reduced the severity of central sleep apnea, including improvements in sleep metrics, and was well tolerated. |
| Costanzo et al. Sustained 12 month benefit of phrenic nerve stimulation for central sleep apnea. Am J Cardiol 2018; 121:1400–8. | RCT Pivotal Trial 1-year Follow-up | 151 | Objective of this follow-up to the pivotal trial was to explore the effectiveness of TPNS in patients with CSA after 12 months of therapy. Patients with moderate-to-severe CSA were randomized to therapy at 1 month (treatment) or after 6 months (control). After 6 months, patients in the control group had therapy activated. Sleep indices were assessed from baseline to 12 months in the treatment group and from 6 months to 12 months in the control group. 60% and 67% of treatment group subjects demonstrated 50% reduction in AHI at 6 months (95% CI 47% to 64%) and at 12 months (95% CI 53% to 78%), respectively. After 6 months of therapy, 55% of former controls achieved 50% reduction in AHI. CAI also decreased with a median paired change from baseline to 12 months of -29.4 ± 17.8 events/hour. The reduction in AHI documented at 6 months was sustained at 12 months. |
| Fox et al. Long-term efficacy and safety of phrenic nerve stimulation for the treatment of central sleep apnea. Sleep 2019; 42(11):1-9. | RCT Pivotal Trial Long-term Follow-up | 109 (24 mos) 60 (36 mos) | Objective was to evaluate long-term efficacy and safety of TPNS in patients with moderate-to-severe CSA though 3 years of therapy. Patients were observed every 3 months after implant until FDA approval. At the time of approval and study closure, all patients completed 24 months of follow-up; 33 patients had not reached the 36-month visit. Sleep metrics (AHI, CAI, arousal index, oxygen desaturation index, rapid eye movement sleep) remained improved through 24 and 36 months with continuous use of TPNS therapy. The long-term analysis establishes that unilateral TPNS with the remedē System in adult patients with CSA is associated with a high response to therapy and demonstrates a strong safety profile through 36 months. |
| Costanzo et al. Transvenous phrenic nerve stimulation for treatment of central sleep apnea: five-year safety and efficacy outcomes. Nat Sci Sleep 2021; 13: 515-26. | RCT Pivotal Trial Long-term Follow-up | 53 | Objective was to evaluate long-term efficacy and safety of TPNS in patients with moderate-to-severe CSA though 5 years of therapy. Pivotal Trial subjects were invited to enroll in the Post Approval Study (PAS) and 52 of the 53 enrolled completed the 5-year visit. Following TPNS therapy, the sleep metrics and sleep architecture showed sustained improvements. There was a statistically significant improvement in the AHI, CAI, and ESS from baseline to 5 years in a per protocol analysis (p<0.001). The AHI showed a durable improvement from 46 to 17 events/hour and the CAI improved from 23 to 1 events/hour. No unanticipated adverse device effects or related deaths occurred through 5 years. Results of this prospective long-term 5-year study suggest that TPNS is a safe and effective therapy, resulting in clinically meaningful improvements in sleep and excessive daytime sleepiness for patients with CSA. |
| Costanzo et al. Phrenic nerve stimulation to treat patients with central sleep apnea and heart failure. Eur J Heart Fail 2018; 20(12): 1746-54. | Post-hoc analysis of RCT pivotal trial for heart failure subgroup | 96 | Aim was to evaluate if using TPNS to treat CSA in patients with CSA and HF was associated with changes in HF-specific metrics. This post-hoc analysis was performed in the subset of patients in the pivotal trial with HF as determined at baseline by the investigator. Of the 96 patients with HF, 81 and 75 completed a 6-month and 12-month post-activation visit. In patients with HF, 53% and 57% had 50% reduction in AHI from baseline to 6 months and 12 months, respectively. All observed respiratory and sleep metrics statistically improved from baseline. At 12 months, Minnesota Living with Heart Failure Questionnaire (MLHFQ) scores changed by –6.8± 20.0 (P=0.005). The 6-month rate of HF hospitalization was 4.7% in treatment patients (standard error=3.3) and 17.0% in control patients (standard error=5.5) (P=0.065). In a subset of HF patients, TPNS reduced CSA severity and improved QoL. |
| Schwartz et al. Transvenous phrenic nerve stimulation improves central sleep apnea, sleep quality and quality of life regardless of prior positive airway pressure treatment. Sleep Breath 2021; 25(4) :2053-63. | Post-hoc analysis of RCT pivotal trial results by prior PAP treatment status | 56 | Objective was to evaluate TPNS responses among PAP-naïve and prior PAP-treated patients from the remedē® System Pivotal Trial. Of the 151 patients enrolled in the pivotal trial, 56 (37%) used PAP prior to enrollment. In these patients, PAP therapy may have been either poorly tolerated or ineffective. The physiologic and symptomatic responses to TPNS in the PAP-treated group were similar to those in the PAP-naïve group. Polysomnographic and clinical responses to TPNS were comparable in PAP-naïve and prior PAP-treated CSA patients demonstrating that TPNS is a viable therapy across a broad spectrum of CSA patients. TPNS can be considered a viable therapeutic option for patients with moderate to severe CSA who are either PAP-naïve or in whom PAP is poorly tolerated, ineffective, or contraindicated. |
| Sami et al. Analysis by sex of safety and effectiveness of transvenous phrenic nerve stimulation. Sleep Breath 2024; 28(1):165-71. | Post-hoc analysis of RCT pivotal trial results by sex | 151 | Aim was to determine sex-specific differences in the safety and effectiveness of treating moderate to severe CSA in adults with TPNS. Post-hoc analysis performed using data from female subjects (n = 16) and male subjects (n = 135) enrolled in the pivotal trial. Data for 10 females and 109 males after 12 months of therapy were available. Both baseline AHI and CAI were lower for females than males (AHI 35 events/hr vs 47 events/hr; CAI 14 events/hr vs 24 events/hr). Both females and males had a statistically significant decrease in AHI at 12 months vs. baseline (females: -21 events/hour, (-24 to -10, p=0.002); males: -22 events per hour (-40 to -6, p<0.001). Both groups also saw significant decreases in CAI from baseline (females: median paired change from baseline -14 events/hr, -21 to -10, p=0.002); males: median paired change from baseline -21 events/hr, -35 to -12, p<0.001). Improvement in quality of life (marked/moderate improved patient global assessment occurred in 82% of female subjects vs. 57% of male subjects. TPNS may be a safe and effective tool in the treatment of moderate to severe CSA in women. |
| Abraham et al. Win ratio analysis of transvenous phrenic nerve stimulation to treat central sleep apnoea in heart failure. ESC Heart Fail 2025; 12(1):80-6. | Post-hoc analysis of RCT pivotal trial results for heart failure subgroup | 96 | Objective was to use the win ratio approach to gain insights on the clinical treatment effects of TPNS in the subgroup of pivotal trial subjects (n = 96) with heart failure. A retrospective unmatched win ratio analysis was performed using multiple components, including 1) all-cause mortality, 2) HF hospitalizations, and 3) quality of life (measured by patient global assessment difference of ≥2 categories at 6 months). Data from the HF subgroup patients who reached the therapy initiation visit (n = 43 subjects in treatment group, n = 48 subjects in control group) were used for the win ratio comparisons, resulting in 2,064 pairwise comparisons. More patients in the treatment group experienced clinical benefit compared with the control group, with a win ratio of 4.92 (95% CI: 2.27, 10.63, p<0.0001). Sensitivity analyses using various combinations of components also resulted in win ratios indicating greater clinical benefit in the treatment group than in the control group. TPNS may be superior to untreated CSA in HF patients with CSA using a hierarchical clinical benefit endpoint composed of mortality, heart failure hospitalization, and quality of life. |
| Additional Studies |  |  |  |
| Abraham et al. Phrenic nerve stimulation for the treatment of central sleep apnea. JACC Heart Fail 2015; 3:360-9. | Prospective, multicenter, non-randomized pilot study | 57 | Goal of this pilot study was to evaluate chronic, unilateral TPNS to treat CSA. The study met its primary endpoint demonstrating a 55% reduction in apnea-hypopnea index from baseline to 3 months. In patients with heart failure, the MLHFQ score significantly improved with an average improvement of 10-points (p=0.0009). Device- or procedure-related serious adverse events occurred in 26% of patients through 6 months post therapy initiation, predominantly due to lead repositioning early in the study. (The authors noted that a new lead and implantation location were implemented during the study). Therapy was well tolerated. Unilateral TPNS appears safe and effective for treating CSA. |
| Jagielski et al. Transvenous stimulation of the phrenic nerve for the treatment of central sleep apnea: 12 months’ experience with the remede system. Eur J Heart Fail 2016; 18(11):1386-93. | Single site, non-randomized pilot study 12 months follow-up | 47 | This study sought to evaluate the 12-month clinical outcomes of patients with CSA treated with unilateral TPNS from a single clinical site. 41 patients completed the follow-up polysomnography at 3, 6 and 12 months. Compared with baseline, at 12-months there was a sustained improved in AHI (49.9 15.1 vs 27.5 18.3 events/h, p<0.001) and central apnea index (28.2 15.0 vs 6.0 9.2 events/h p<0.001). Statistically significant improvements from baseline to 12 months were documented for oxygen desaturation index, rapid eye movement sleep, and sleep efficiency. This single site study demonstrates that in patients with CSA, TPNS is associated with sustained improvement in sleep parameters, symptoms, and quality of life. |
| Potratz et al. Phrenic nerve Stimulation Improves physical performance and hypoxemia in heart failure patients with central sleep apnea. J Clin Med 2021; 10(2): 202. | Cohort study | 24 | TPNS in patients with HF and CSA improved AHI from 38.1 ± 17.9 to 17.3 ± 9.4 events/hour (p=0.01); CAI from 18.0±16.8 to 7.2±10.0 events/hour (p=0.02); and time below 90% oxygen saturation (81.0±55.7 to 27.9±42.7 min; p<0.01). Six minute walk test improved from 369.5±163.5 to 410.0±169.7 meters (p=0.035). No serious adverse events were seen during this study. In addition to safely and effectively treating CSA, TPNS is also associated with improved physical performance capacity and reduced hypoxemic burden in patients with HF. |
| Mease et al. Phrenic nerve stimulation for central sleep apnea: a single center institution experience. Sleep Breath 2024; 28: 2089-2094 | Single-center study | 22 | Retrospective analysis of CSA patients implanted with TPNS at Ohio State University from 2018 to May 2022. Outcomes assessed at baseline and at visit closest to one year post-implant (average 13 months). AHI decreased from median of 40 events/hr at baseline to 18 events/hr (p=0.003). CAI decreased from median of 16 events/hr to 2 events/hour (p=0.001). ESS scores improved from median score of 12 to 9 (p=0.028). TPNS is an effective treatment of central sleep apnea as measured by improvement of overall AHI, CAI, and ODI. |

Please note that these studies may involve findings that are not contained within the remedē® System manual. The intent of providing this data is to disseminate scientific literature currently available about the remedē® System. Please read manuscripts described to understand the strengths and limitations of the data.

Important Safety Information

The remedē® System is indicated for moderate to severe Central Sleep Apnea (CSA) in adult patients. A doctor will need to evaluate the patient’s condition to determine if the remedē System is appropriate. The remedē® System should not be implanted during an active infection and patients will not be able to have diathermy (special heat therapies). The device is MR Conditional. The conditions and precautions can be found in the remedē System MRI guidelines manual. The remedē System may be used with another stimulation device such as a heart pacemaker or defibrillator; special testing will be needed to ensure the devices are not interacting. As with any surgically implanted device, there are risks related to the surgical procedure itself which may include, but are not limited to, pain, swelling, and infection. Once the therapy is turned on, some patients may experience discomfort from stimulation and/or from the presence of the device. The majority of these events are resolved either on their own or by adjusting the therapy settings. The remedē System may not work for everyone. There are additional risks associated with removing the system. If it is decided to remove the system, another surgery will be required. Be sure to understand all the risks and benefits associated with the implantation of the remedē System. For further information please visit remede.zoll.com, call 952-540-4470 or email info@remede.zoll.com. Contraindications: The remedē System is contraindicated for use in patients with an active infection. See the Instructions for Use for complete information regarding the procedure, indications for use, contraindications, warnings, precautions, and potential adverse events. Rx Only. The remedē® System, remedē® EL System, and remedē® EL-X System have received FDA approval. The remedē® System model 1001 has received CE Mark approval.

Copyright © 2025 ZOLL Medical Corporation. All rights reserved. Respicardia and remedē are registered trademarks of ZOLL Respicardia, Inc. in the United States and/or other countries. ZOLL is a registered trademark of ZOLL Medical Corporation in the United States and/or other countries. RMB1852, Rev F

Badr MS, Khayat RN, Allam JS, et al. Treatment of central sleep apnea in adults: an American Academy of Sleep Medicine clinical practice guideline. J Clin Sleep Med 2025;21(12): 2181-2191.